## Slide 1
BioRaman
How it compares with free Raman spectra & map-analysis tools
Akalabya Bissoyi · akalabya.bissoyi@manchester.ac.uk
BioRaman v0.8.0 · 9 tools · 13 capabilities

## Slide 2
Capability score across free Raman tools
Full support ×1 + partial ×0.5 (maximum 13)
Chart: 
| BioRaman | Vespucci | Orange + Quasar | RamanSPy | Spectragryph | hyperSpec | SpectraGuru | ramanchada2 | Open Specy
Score | 12.5 | 8.5 | 7.5 | 7 | 7 | 7 | 6.5 | 6 | 4.5

## Slide 3
Capability matrix
✓ full ~ partial – none
Tool | GUI | Files | Prep | Imaging | Uni/ratio | PCA | Cluster | MCR-ALS | N-FINDR | Peak ID | Curve | 3D | Library
BioRaman Desktop GUI · Python | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ~
RamanSPy Python library | – | ✓ | ✓ | ✓ | ~ | ✓ | ✓ | ~ | – | ~ | ~ | – | –
Orange + Quasar Desktop GUI · visual | ✓ | ~ | ✓ | ✓ | ~ | ✓ | ✓ | ~ | – | ~ | ~ | – | –
Vespucci Desktop GUI | ✓ | ~ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | – | ~ | ~ | – | –
SpectraGuru Web app | ✓ | – | ✓ | ~ | – | ✓ | ✓ | – | – | ✓ | ~ | – | ~
Open Specy Web / R | ✓ | – | ✓ | – | – | – | ~ | – | – | ✓ | – | – | ✓
Spectragryph Desktop · freeware | ✓ | ✓ | ✓ | ~ | ~ | – | – | – | – | ✓ | ✓ | – | ✓
hyperSpec R library | – | ~ | ✓ | ✓ | ✓ | ✓ | ✓ | ~ | – | ~ | ~ | – | –
ramanchada2 Python library | – | ✓ | ✓ | ~ | – | ~ | ~ | – | – | ✓ | ✓ | – | ~

## Slide 4
Where BioRaman stands out
Full workflow, no code
One of the few free GUI tools combining hyperspectral mapping with the complete chemometrics stack — PCA, clustering, MCR-ALS and N-FINDR endmember extraction.
3D confocal rendering
Volume scatter, orthogonal slices, surface and multi-band RGB views — not offered by the other free GUI tools (Vespucci, Orange/Quasar).
Native instrument files
Reads Renishaw WiRE .wdf directly, so there is no manual export step before analysis.
Where rivals lead
Large spectral databases (Open Specy, Spectragryph) and scripting flexibility (RamanSPy, hyperSpec) — BioRaman's built-in library is still partial.
Ratings are a best-effort reading of each tool's documentation and may change between releases.